## Slide 1
Large Distribution Model Simulations
Aryan Ritwajeet Jha
Observation of the effect of change in parameter values on Distributed OPF Simulations for the synthetic 1k and 10k Power Distribution networks.
Prob
Cover

## Slide 2
Problem Statement
Given a large Power Distribution System with:
  Generally uniform values of branch impedances
  Uniformly-distributed loads
  Uniformly-distributed Distributed Energy Resources (DERs), here, solar photovoltaics (PVs) of similar ratings.
Run a (Distributed-)OPF simulation for different scenarios (say, Loss Minimization or Voltage Deviation Minimization) involving:
  Variation of an independent parameter (say, branch impedance )
    Here, we are varying by , in steps of . All percentages of the nominal value.
  and observe the trajectory of a desired dependent parameter, such as:
    A state variable (say, boundary voltage or boundary powerflows )
    A control variable (say, sum of inverter reactive power outputs at all DER locations )
    An output variable (say, system line losses or system total voltage deviations ) .
Synthetic 10k Distribution Network
Prob
C
B
A
Prob
Cover

## Slide 3
Problem Statement
Note: This simulation was run for about nine areas totaling to about 1000 buses.
Run time: ~10 minutes for 5 simulation-steps for a given optimization scenario.
Later, simulation for the full 10k system will be added, whose run time has been seen to be ~40 minutes for 1 simulation-steps.
These are the nominal values used for most buses/branches of the system:
simulation-steps with independent parameter values given below.
,
,
and are varied together, proportionally. (will be parametrized in a future simulation) (will be parametrized in a future simulation) (line-line)
Synthetic 10k Distribution Network
Prob
C
B
A
Prob
Cover

## Slide 4
D
C
B
A
Line Losses vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover
Linear change in branch impedance caused a Linear change in line losses

## Slide 5
D
C
B
A
Substation Power vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover
Linear change in branch impedance caused a Linear change in substation power . Given that loads are held constant for all simulation-steps, the substation power is expected to follow the trajectory of line losses , with an offset value.

## Slide 6
D
C
B
A
DER Reactive Power vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover
For Loss minimization, control variable - the inverter reactive power output at DER locations increased with respect to an increase in branch reactance , until the reactive generation limit is reached.
For Voltage Deviation minimization, expectedly is capped at its maximum value in every case in order to maximize the compensation for a voltage dip at its bus.

## Slide 7
Prob
C
B
A
Real Power at Area Boundaries vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover
Note: Real Power Exchanged at the boundaries of each area * are linearly varying, just like and , even though it may look like they are not varying. This is due to the large offset values, which hide the linearity in these plots and make them look as a constant curve. *Here for Area means the Real Power injected into Area from its ‘parent’ Area. For example, the parent Area of Area is Area , whose own parent Area is just the substation.

## Slide 8
D
C
B
A
Reactive Power at Area Boundaries vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover
For Loss minimization, control variable - the inverter reactive power output at DER locations increased with respect to an increase in branch reactance , until the reactive generation limit is reached.
For Voltage Deviation minimization, expectedly is capped at its maximum value in every case in order to maximize the compensation for a voltage dip at its bus.

## Slide 9
D
C
B
A
Voltages at Area Boundaries vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover

## Slide 10
D
C
B
A
Voltage Deviation vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover

## Slide 11
References
[1] Sadnan, R., & Dubey, A. (2022). Distributed Computing for Scalable Optimal Power Flow in Large Radial Electric Power Distribution Systems with Distributed Energy Resources. arXiv, 2211.03920. Retrieved from https://arxiv.org/abs/2211.03920v1