## Slide 1
Large Distribution Model Simulations
Aryan Ritwajeet Jha
Observation of the effect of change in parameter values on Distributed OPF Simulations for the synthetic 1k and 10k Power Distribution networks.
Prob
Cover

## Slide 2
Problem Statement
Given a large Power Distribution System with:
  Generally uniform values of branch impedances
  Uniformly-distributed loads
  Uniformly-distributed Distributed Energy Resources (DERs), here, solar photovoltaics (PVs) of similar ratings.
Run (Distributed-)OPF simulations for different scenarios (say, Loss Minimization or Voltage Deviation Minimization) involving:
  Variation of an independent parameter (say, branch impedance )
    Here, we are varying by , in steps of . All percentages of the nominal value.
  and observe the trajectory of a desired dependent parameter, such as:
    A state variable (say, boundary voltage or boundary powerflows )
    A control variable (say, sum of inverter reactive power outputs at all DER locations )
    An output variable (say, system line losses or system total voltage deviations ) .
Synthetic 10k Distribution Network
Prob
C
B
A
Prob
Cover

## Slide 3
D
C
B
A
Line Losses vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover

## Slide 4
D
C
B
A
Substation Power vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover

## Slide 5
D
C
B
A
DER Reactive Power vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover

## Slide 6
Prob
C
B
A
Real Power at Area Boundaries vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover

## Slide 7
D
C
B
A
Reactive Power at Area Boundaries vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover

## Slide 8
D
C
B
A
Voltages at Area Boundaries vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover

## Slide 9
D
C
B
A
Voltage Deviation vs Branch Impedance
Objective Functions: Loss Minimization, Voltage Deviation Minimization
Prob
Cover